## Lighting Opex Calc
Update Below with Your Rate
| Average $/KWH: | 0.1743
|  | Current Lights |  |  | LED Details | [5 empty] | Opex Costs
[12 empty] | Monthly |  |  | Yearly
Location | Size | # Bulbs | Avg Daily Usage | Halogen Wattage | LED Wattage | Date LED Installed | Total LED Cost | Brand/Model | Temp | Lumens | Halogen Avg Opex | LED Avg Opex | Months to Break Even | Halogen Avg Opex | LED Avg Opex | Years to Break Even
Entrance | PAR30 | 2 | 2 | 45 | 5 | 2012-01-01 | 50 | EcoSmart | 3000 | 350 | 0.94122 | 0.10458 | 59.7629 | 11.2946 | 1.2724 | 4.9889
Living Room | PAR38 | 3 | 4 | 75 | 23 | 2012-01-01 | 120 | Philips | 3000 | 1300 | 4.7061 | 1.4432 | 36.7771 | 56.4732 | 17.559 | 3.0837
Family Room | PAR38 | 4 | 4 | 50 | 12 | 2012-01-01 | 70 | EcoSmart | 3000 | 630 | 4.1832 | 1.004 | 22.0179 | 50.1984 | 12.2149 | 1.8429
House Number | PAR16 | 1 | 5 | 45 | 3 | 2012-01-01 | 34 | GE Energy Smart | 3000 | 150 | 1.1765 | 0.078435 | 30.9629 | 14.1183 | 0.95429 | 2.5828
Note on M5: Month is calculated at 30 days.
Note on P5: Year is calculated at 360 days.